## Slide 1: Electrical work on photovoltaic system (DC)
8 High Potential Events related to work on DC part of Photovoltaic Systems occurred within the Company in the last 5 years.
1
2
4
7
6
10
5
3
9
8
August 2022

## Slide 2: Electrical work on photovoltaic system (DC)
Location Date
Observed Company Permit N°
YES
NO
N/A
Name
Compliance rate (Nb YES/applicable points): / ( %)
Comments
Company Signature
1
POINTS TO BE CHECKED
Has the «Safety green light» been carried out?
Has a specific electric risk analysis been prepared and validated by an authorised person?
Are personnel performing the work authorised to work on photovoltaic systems?
Are the cables ordered, identified and systematically equipped with connectors?
Are the required PPE available and worn by the workers?
Do operating procedures exist and are they known and applied by the workers?
Are the electrical isolation devices set in the position defined in the approved isolation diagram/plan (master copies to be checked in the dedicated place)?
Are the electrical isolation devices locked and tagged?
Do the workers have appropriate tools to carry out the zero voltage testing and the zero current testing?
Are zero voltage testing and zero current testing performed on the related circuits?
August 2022
2
3
4
5
6
7
8
9
10